K. J. Somaiya School of Engineering

Department of Science and Humanities

Applied Chemistry Laboratory

Subject: Engineering Chemistry

CO: Name:

Roll No.

Batch: Date:

Experiment No. 4

Title

Spectrophotometric Determination of Optical Band Gap of Cobalt (II) Chloride

Aim

To determine the optical band gap energy (Eg) of Cobalt (II) chloride using UV–Visible  spectrophotometry. (V-Lab)

Principle / Theory

When light passes through a material, photons with energy equal to or greater than the  band gap can excite electrons from the valence band to the conduction band. This  causes absorption at specific wavelengths.

The absorption coefficient (α) is related to photon energy (hν) by the Tauc equation:  Where:

 α = absorption coefficient

 hν = photon energy (eV)

 Eg = optical band gap

 A = constant

 n = ½ for direct allowed transition

 n = 2 for indirect allowed transition

For most metal chlorides, direct transition is assumed:

Plotting (αhν)² vs hν and extrapolating the linear portion to the x-axis gives Eg.  Importance of Cobalt(II) Chloride:

ASL Sem-II (2025- 26)

K. J. Somaiya School of Engineering

Department of Science and Humanities

Applied Chemistry Laboratory

Subject: Engineering Chemistry

 Cobalt (II) chloride [CoCl₂] is not a conventional semiconductor like silicon, but  it plays an important role in the preparation and modification of semiconducting  materials.

 CoCl₂ is widely used as a precursor for synthesizing cobalt-based semiconductors  such as cobalt oxides, sulfides, and selenides, which are applied in photocatalysis,  sensors, solar cells, batteries, and supercapacitors

 It serves as a dopant source for materials like ZnO, TiO₂, and CdS, introducing  new energy levels that improve conductivity, light absorption, and magnetic  properties.

 Due to its strong electronic transitions, CoCl₂ helps in “band gap engineering”  and modification of optical properties.

 Being inexpensive, soluble, and easy to process, CoCl₂ is suitable for large-scale  and low-temperature synthesis.

 Thus, Cobalt (II) chloride is an important chemical for developing and tuning  semiconducting materials.



Apparatus & Chemicals

 UV–Visible spectrophotometer

 Quartz cuvettes

 Analytical balance

 Volumetric flasks

 Distilled water

 Cobalt (II) chloride (CoCl₂)

 Pipettes, beakers

NOTE: The virtual setup is available in simulation of physical chemical lab at amrita  vlab portal.

Preparation of Sample Solution

1. Select Cobalt (II) chloride in from drop-down menu of solution.  2. Set concentration of Cobalt (II) chloride 0.001 M.

ASL Sem-II (2025- 26)

K. J. Somaiya School of Engineering

Department of Science and Humanities

Applied Chemistry Laboratory

Subject: Engineering Chemistry

3. Click on “Click to Open” to open the UV–Visible spectrophotometer..  4. Place the blank cuvette in the sample holder and adjust the absorbance to zero.  Remove the blank cuvette with a single click.

5. Place the cuvette containing 0.001 M Cobalt (II) chloride solution in the sample  holder.

6. Record the absorbance of 0.001 M Cobalt (II) chloride in the wavelength range  350–600 nm.

7. Prepare an Excel sheet and enter the absorbance values at the corresponding  wavelengths.

8. You can get approximate optical band gap values with formula,  1240/λmax .

9. Now for exact band gap measurement, we will make tauc plot with Use of Origin  software (or Excel).

10.Calculate photon energy (hν).

11. Calculate the absorption coefficient (α) for each wavelength and (αhν)². 12.Plot (αhν)² versus hν.

13.Extrapolate the straight-line portion of the plot to intersect the energy axis and  determine the band gap energy.

ASL Sem-II (2025- 26)

K. J. Somaiya School of Engineering

Department of Science and Humanities

Applied Chemistry Laboratory

Subject: Engineering Chemistry

Calculations

Graph

Plot: (αhν)² vs hν

Y-axis:(αhν)²

X-axis: hν (eV)

The straight line portion is extrapolated to intersect X-axis.

ASL Sem-II (2025- 26)

K. J. Somaiya School of Engineering

Department of Science and Humanities

Applied Chemistry Laboratory

Subject: Engineering Chemistry

Add screen shot of the workbook and tauc plot from origin

Result

The optical band gap of Cobalt (II) chloride is found to be:

[Eg = _______ eV]

(Typically reported value lies around 2.0 – 2.5 eV, depending on form and conditions.)

ASL Sem-II (2025- 26)